Green Roof Specification Standards

Christopher G. Wark, CSI

Principal

Wendy W. Wark
Principal

SHADE Consulting, LLC

P.O. Box 2775, San Carlos between 7th & 8th
Carmel, CA 93921

831 625-5625

cwark@shadeconsulting.com
wwwark@shadeconsulting.com
www.shadeconsulting.com
Abstract

As green roof designs and technologies become increasingly specified in the United States, the need arises to clearly define these systems and their components. Specifications, recommendations and intended applications vary greatly driving industry groups to begin taking action toward establishing standards for green roofs.
Background
Green roofs have existed since ancient times. The first known manmade gardens above grade were the ziggurats (stone pyramidal stepped towers) of ancient Mesopotamia, built from the fourth millennium until around 600 B.C. In France, gardens planted in the 13th Century thrive atop a Benedictine abbey. Norwegians developed sod roofs centuries ago for insulation. Five roof gardens installed atop the seventh floor of Rockefeller Center in New York City, between 1933 and 1936, as “viewscapes” for the enjoyment of high-rent skyscraper tenants, continue to enhance the view today.
Several U.S. companies are licensees for European green roof systems and methods, where the technology has existed for the past 40 years. Limited land resources, high energy costs and ancient sewer systems overwhelmed by storm water runoff have all contributed to the success of the green roof industry in Europe.

Over 800 green roofs exist in Germany, a leader in codes and incentives for green roof installation. In Asia, Japan is a center for green roof technology. Tokyo is the first city to mandate building vegetation on 20 percent of all new construction.

Green roofs have been installed across America in steadily increasing numbers over the past decade and research is being conducted in North American universities on the impact of green roofs on the environment, economy and energy resources. Major American corporations, like Ford Motor Co., The Gap, and H.J. Heinz Co., have installed green roofs and the design for the new World Trade Center includes a rooftop garden. However, despite breakthroughs in green roof technology, little is known about green roofs and even less about their installation standards.

Description of Systems

The green roof industry has developed two general classifications for rooftop vegetation systems: extensive and intensive.
An extensive green roof is also known as a low-profile or performance green roof. It contains only one or two plant species and minimal planting medium. It is commonly designed for maximum thermal and hydrological performance and minimum weight load while being aesthetically pleasing. Typically, only maintenance personnel have access to this type of roof. It is installed on flat and pitched roofs. Commercially available systems use planting media ranging in depth from 41 mm (1.6 in.) to 102 mm (4 in.). Total wet roof loads range from less than 49 kg/m2 (10 lb/sf) to approximately 98 kg/m2 (20 lb/sf). Deeper extensive systems exist but are becoming less common. The basic layers of an extensive system are shown in Figure 1.

An intensive green roof is also known as a high-profile green roof or rooftop garden. This type of green roof typically contains a variety of plant types and is designed as a park-like setting. Some rooftop gardens support fairly large trees and water features requiring substantial structural reinforcement. The minimum planting medium depth for a rooftop garden is usually greater than that of a performance system, with the maximum depth being determined by the design, which also dictates the structural requirements for the roof, especially if the roof is to have public access. 
Other terminology used to describe a system includes eco-roof and roofscape.
The term eco-roof is often used because many green roof designs involve plants that are not green for the entire year, particularly in northern and dry regions. The term roofscape describes the landscape of the rooftop or the overall appearance of the roof.

Green roof systems are sometimes modular. In this type of system, the vegetation and planting medium are contained in an array of special trays or containers. All of the necessary green roof components may exist in each module, including a root barrier, drainage and provision for irrigation. Such a system is shown in Figure 2.
Description of Components

Vegetation: Almost any plant can be put on a roof. The only limitations are climate, structural design, budget and imagination. Since green roofs are typically lightweight, they often contain ground cover that can thrive in very shallow soils with little to no maintenance. Sedum, a drought tolerant, succulent ground cover, is widely used on green roofs as are a variety of wildflowers and shallow-rooting grasses. Rooftop vegetation may go dormant and lose foliage, as do plants on grade.
Planting medium: Not to be confused with soil, the planting medium is distinguished by its mineral content, which is usually synthetically produced, expanded clay which provides the basis for an ultra-lightweight system. Perlite is a common form of expanded clay and is found in garden nursery planting mix. A variety of planting medium ‘recipes,’ many of them proprietary, are commercially available. The bulk densities of these mixes range from 400 kg/m3 (25 lb/cf) to 900 kg/m3 (56 lb/cf) for dry mixes where water absorbencies can be 20–200 percent by weight. 
Filter layer: Somewhere between the planting media and drain layer lies a filter that not only allows water to flow through while retaining the planting medium, but serves as a root barrier. The filter usually comprises one or two layers of non-woven geotextile, where one of the layers may be treated with a root inhibitor (i.e. copper or a mild herbicide). As in many landscaping applications, filter fabric can also be used to control erosion at the surface of the planting medium.
Containment: In modular systems, containment refers to actual plant containers. In non-modular systems, the planting medium is supported by the drain layer and contained at the perimeter by a metal or plastic barrier, or the roof parapet.
Drain layer: Between the planting medium and roof membrane is a layer through which water can flow from anywhere on the green roof to the building’s drainage system. Some systems simply use a layer of large-diameter expanded clay, but most green roof companies now use a corrugated plastic drain mat with a structural pattern resembling an egg carton or landscape paver. Minimal drain layer thickness is usually less than 20 mm (0.8 in), but a thicker mat can provide insulation and root restriction.
Protective layer: The roof’s membrane may need protection from damage during the green roof installation, fertilizers and possible root penetrations. The protective layer can be a slab of lightweight concrete, sheet of rigid insulation, thick plastic, copper foil, or a combination of these, depending on the green roof design and application. 
Insulation: The thermal protection provided by the vegetation, planting medium, and drain layer sufficiently eliminates the need for additional insulation in warm, dry climates. However, building codes usually require a certain level of added insulation, regardless of the overall roof design.

Waterproofing: A green roof can be installed with any kind of waterproofing system, but single-ply membranes have become very popular in recent years and are specified by nearly all green roof companies for their cost effectiveness and simplicity. As such, the waterproofing layer is typically assumed to be a membrane. 
Irrigation: Watering systems used in landscaping can be adapted to rooftop applications, but several commercial green roof designs combine passive irrigation methods with active components. Passive irrigation describes the process of storing rainwater in the drain layer, which eventually wicks back up through the planting medium while excess is allowed to drain off. Irrigation is often unnecessary, however, when drought-tolerant plants like sedums are used.
All these elements need not be acquired as individual units, as some products and designs on the market combine the functions of two or more components. For instance, the contours of the bottom of a modular container may form a drain layer, or a water storage mat might also be used as a filter layer. Combination designs can often reduce the weight and cost of a system. 
Green Roof Specifications and Standards

Green roofs provide exceptional benefits through their thermal, hydrodynamic, and protective characteristics, but the only way their economic impact can be fully appreciated is by allowing variances to established standards and codes for roof systems incorporating vegetation. Currently, green roof systems are not addressed by ANSI, ASHRAE. A Green Roof task group established in October 2001 by ASTM International Subcommittee E06.71 on Sustainability has created a statement of work to explore ways in which to assess green roofs (WK575–February 2003) including many of the most commonly used European standards as established by the FLL in Germany.
Since the individual components of a green roof are selected for a wide range of design possibilities, setting standards at the component level is a reasonable approach.
Vegetation: Vegetation performs a similar function to a ‘cool’ roof by transferring solar energy to the atmosphere, only more effectively. On a summer day, leaf temperatures of any thriving plant are usually less than 5 C (9 F) higher than the surrounding air temperature, making total leaf coverage, approximate plant height, and irrigation significant design criteria for cooling properties. Also, many plants have an additional advantage over cool roofs when they lose their leaves in the winter, allowing the sun to warm the roof. 
Plants should also be selected according to health or fire safety guidelines, just as in landscape designs for areas adjacent to buildings. A set of system design guidelines for horticultural issues, primarily plant health, would be useful in educating both clients and installers on the proper component specifications for a certain application and climate. Many green roof companies work with local horticulturists and nurseries to ensure that selected plants thrive. Landscape fire safety is already addressed in states such as California and Oregon, which publish lists of fire resistant plants as well as hazardous plants.
Planting medium: Planting medium depth and composition must be appropriate for the selected vegetation and desired storm water retention capability. Since absorption and flow rates are site and system specific, estimations of water retention characteristics must be calculated for individual cases. This specification would be part of the previously mentioned horticultural guidelines.

Filter layer: The geotextiles commonly used in filter layers are specified for material, flow rate, hole size, strength, and root inhibitor. Plants with easy-to-control roots are usually specified for performance green roofs, whereas rooftop gardens may contain deeper rooting plants requiring multiple filter layers. Since root and media particle diameters can vary, filters should be specified for different media and plant types to ensure adequate flow rates for a given planting mix without losing too much silt or allowing excessive root penetration.
Drain layer: The critical specification for a drain layer is the maximum volumetric flow rate, which is determined from rainfall data. Minimum passage area should be standardized for various locations. Since the drain layer supports the planting medium and vegetation, the compression strength should be specified. Many drain mat products are segmented or baffled to get the necessary compression strength, and hence, have insulating qualities that should be considered.
Insulation: Since current standards do not recognize the thermal management qualities of green roofs, a local code variance would probably be needed to install one on an under-insulated roof. Results from a study done on commercial buildings in Northern California using DOE-2 and a proprietary roof heat transfer model developed by Shade Consulting indicate that in many cases an un-insulated green roof could reduce the building heating/cooling system demand for most of the year by 30 percent over a conventional dark roof with R-18 rigid insulation without a radiation barrier. This phenomenon is due to much more than the R value of the system. 
The ability of a green roof to control heat transfer into the building is much more complicated than simply providing an insulation layer. In fact, an R value can not be assigned to a green roof. Non-linear heat transfer mechanisms such as radiation, convection, evaporation and thermal mass each play a more significant role than steady conduction (or resistance, R). Foliage controls solar energy input through convection and evaporation while the planting medium can have significant thermal mass, dampening the impact of ambient temperature fluctuations. ASHRAE has been continually improving its tables for adjusting R-values for high-mass walls, but local building codes still tend to use straight R-values because of the difficulty in applying thermal mass to specific cases.
Because of the thermally sophisticated nature of many new roof systems, a new general heat transfer value, Q, should be adopted to describe a standardized amount of heat moving through a roof system in a given location. Q would be a representative value for buildings designed according to a proscriptive approach which is now allowed in several areas of the country as building energy analysis software becomes more widely used.
Membrane: A membrane is actually protected, not degraded, by a green roof. Without one, a membrane is subjected to UV radiation, extreme heat cycling, wind, rain, pollution (especially when ponding occurs), and damage from maintenance activities. With a properly designed green roof incorporating a protective layer, the membrane is subjected to nothing more than a small amount of moisture. Since a green roof keeps the membrane surface temperature much closer to the roof deck temperature, mechanical stress within the membrane is tremendously reduced. This helps maintain joint integrity, adherence to the deck, and reduces water vapor transfer.
Currently, no hard data exists showing the life span of a waterproofing system below a green roof. The waterproofing systems in older, well-known rooftop gardens with built-up roofs, such as those at the Rockefeller Center, have never required any maintenance. To be safe, roofing companies installing green roofs recommend various types of single-ply membranes, according to application, installation, and cost considerations.

Existing standards and codes for membranes exceed green roof requirements. Additional requirements might involve special provisions for the inspection of a membrane before and after the subsequent green roof layers are installed.

Vapor restriction: A green roof reduces the temperature gradients throughout the roof system, so condensation is less likely to occur beneath the membrane. Use of an additional vapor restricting sheet should be determined on an individual basis.
Irrigation: Irrigation requirements are specific to the climate and type of plants being used. For green roofs, plants not requiring irrigation are usually selected. The level of sophistication of the irrigation system (when required) is dictated by the client.
Like all elements in construction, green roofs are as diverse as the people designing them, and are customized according to intended use, climatic conditions, building structure and financial limitations.

Challenges and the “Green Roof Paradox”
For the specifier, the challenge is to obtain consistent, verifiable information on the application requirements of a green roof system or its components. Most of the green roof companies in North America work in conjunction with established roofing companies and can reliably assist with design specifications for a given site. Some of them offer designs that have been used in Europe for many years while others have developed new technologies.

These skilled professionals, including architects and roofing contractors, offer a wide range of services—unfortunately, without access to a certification process. Clients are often hesitant to hire a specialist who is not certified in their area of expertise, and certification cannot be fully appreciated without established standards.

As the production of green roof components increases and improves, they will be increasingly specified and the cost of green roofs will go down resulting in quantity discounts and increased overall savings for the client. Incentives and rebates exist nationwide for cool roofs, yet only a few municipalities have applied those incentives to green roofs.

Portland, Oregon, Chicago, Illinois, and a handful of other cities encourage their installation. A few states, such as Oregon, include green roofs in their environmental and energy savings programs, but it is not enough to encourage the establishment of nationwide standards and consistent codes. Green roofs provide greater energy savings than cools roofs but few areas in the United States provide installation incentives.

The paradox surrounding green roof standards is that the lack of official guidelines keeps some specifiers from recommending green roofs for their projects, but without a substantial number of projects, there is little need to establish those standards. Thankfully, with or without standards, green roofs continue to be specified in North America in greater numbers. These developments will assist specifiers in making educated, informed decisions and recommendations. The sooner this emerging technology is adopted on a wide scale, the sooner its benefits will be realized.

Figure 1

[image: image1.jpg]Extensive Green Roof Construction
Cross section of basic elements

Plants

Planting media

Plant Container

Filter layer \\
Protective layer = = =

Membrane /
Insulation /

Steel roof deck /

[ S REREREEEEEREREEREREEELLEELEEEEERRERELEELELLELEERREREREEELELELEEREREREREEEELEELEAEREREREEEELEE L LELRERELELELS
1000020062000 000 00 0000000200000 00 00000 0 000262626 %090959 090262626 2090909,0. 99 % 19020202020 0000 000000002020 %090 909000 0909029690 909590 % %!
s
PSRRI ERREEEERREEERREE R ERREEEREREEEREREELEREREELRREE KKK

QX 9%
QR 9090905999 909090.9.9,0.9,0.9:9.9,
002026200090 900 00000000 000 0000000000900 090 000000000 1000000900090 009690900. 000 100010 090909090 96909090909:909.9090909090909:909.0.90.90910 090909096 %090909:9:.9.9.9.9.0.0.9

DO LSS S LSS A S LSS XX 6L L SN XX ??QAQAQAQ.Q.Q.Q.‘.Q. %

SHADE Consulting, LLC  4/29/03




Figure 2
         A SHADEWARETM Modular Green Roof System
[image: image2.jpg]



